## Coverpage
Version | 1.2
Basic VIBE calculator
Business case calculations for single solely on 2030 prices, no tax impact etc, no ETS 2 input, simplified CAPEX subsidy, simplified SDE++. Including combination of measures in calculation (mainly energy tax impact)
Release date | October, 4th 2026
Questions/Remarks | info@vibe2030.nl
DISCLAIMER
This calculator allows the user to get an indicative idea of the different business cases and sensitivities for the energy savings solutions propsed in the VIBE toolkit. However, no rights can be derived from the calculations presented. VIBE and FME accept no liability for any damages resulting from the use of, or decisions based on, the content of this Calculator. The outcomes do not substitute own proper evaluations and a more thorough analysis based upon the specific facility that the user has in mind.
The calculator functions only well with modern versions of excel that can handle user defined functions
password for unlock | Vibe2030
Interpolation function | TRUE
Calculator

## Overview
VIBE calculator | Overview
Name of branche | Oils and Fats Industry
Name of standardized plant | Refining
Instructions
One workbook per standardized plant
VIBE Consultant:
Fill in branche and name of standardized plant on this tab
Fill in basic parameters standarized plant in tab ''Standard plant'. Change only yellow cells. Orange cells are proposed data
Required parameters are: annual gas & electricity consumption and annual operating hours
Fill in the relevant parameters for the top 5 energy savings options in tabs 'Option 1 - 5'. Change only yellow cells. Orange cells are proposed data
Required parameters per option are: change annual gas & electricity consumption, annual operating hours of that option, CAPEX, subsidy parameters
End user:
You can add your energy price scenario in the fields user 1 & user 2 in the 'energy price scenario' tab. Financial parameters can be changed in the relevant tab
You can adapt the Measure to your specific conditions in the relevant tab
You can change the subsidy settings on the field of the measures
Results are shown on the 'Summary options' tab, you can choose the energy price scenario and toggle with or without CO2 costs
The profit and loss per measure are included in the relevant Measure tab
Color coding of the cells containing values
Changeable
| Input | Yes
| Result | No
| Calculation/Intermediate result | No
| Fixed or general parameter | No
| Proposed value | Yes
General remarks
Values to be entered within realistic range
All worksheets have been locked
Calculations work with up to date version of Excel (able to handle user defined functions)
password for unlock | Vibe2030
Background of the calculations
Energy taxes | Based upon dutch 'staffel' system. Annual esclation included
Electricity grid costs | Typical grid costs based on tarief bladen, depending on aansluitvermogen. Only fixed capacity contracts included. For lower capacity also EUR/kWh component included. Escalation depends also aansluitvermogen. Aansluitvermogen calculated based upon annual consumption and annual number of operating hours
Gas grid costs | Typical grid costs based on tarief bladen. Including annual escalation. Capacity calculated based upon annual consumption and annual number of operating hours
CO2 costs | Based upon ETS 1 methodology, Assumption no change in free allocation due to energy saving measures
Commodity energy costs | Based upon several public scenario's
Operation& maintenance costs | Fixed percentage of CAPEX costs
CAPEX subsidy | Percentage reduction of CAPEX, no reference (null) scenario included in the calculation. User has to correct CAPEX% for reference scenario. No official RVO calculation
SDE++ subsidy | Indicative calculation based upon data published by PBL for SDE++ 2025. No official RVO calculation
Calculator

## Summary options
Branche | Oils and Fats Industry | [6 empty] | List with scenario's |  | Year
Standard plant | Refining | [6 empty] | KEV 2022 | 1 | 2030 | 1
[8 empty] | KEV 2024 | 5
Energy scenario | Market FW 2030 (juni 2026) | [6 empty] | ETM Koersvaste midden weg | 9 |  | Yes
Price year | 2030 | [FUTURE USE] | [5 empty] | Market FW 2030 (juni 2026) | 13 |  | No
Escalation year grid & tax | 2030 | [6 empty] | User 1 | 17 |  | marginal | The energy tax and electricity grid impact is calculated per option on a marginal basis
Inclusion CO2 ETS 1 costs | Yes | [6 empty] | User 2 | 21 |  | average | The energy tax and electricity grid impact is calculated from the averaged values over the total consumption [EUR/MWh]
Marginal, average or combined impact | marginal | The energy tax and electricity grid impact is calculated per option on a marginal basis | [8 empty] | combined | The energy tax and electricity grid impact is calculated per option based upon the total change in energy consumption due to the cumulative effect of the selected options
index
Energy scenario | Market FW 2030 (juni 2026) | [7 empty] | 13
1
| Gas |  | Power | CO2
| [EUR/MWhHHV] | [EUR/Nm3] | [EUR/MWH] | [EUR/ton] |  |  |  | Year in escalation calculation | 3
2030 | 22.2 | 0.21682 | 71.8 | 92.2
Option included in combined impact?
| Measure 1 | Measure 2 | Measure 3 | Measure 4 | Measure 5 | Measure 6
| E boiler | Heat pump to LP steam | Replace steam ejectors by dry compressors | Heat oil for degumming/neutralization | Tank heating with heat pump hot water | Chilled condensing to reduce motive steam consumption
Change in natural gas | -823973 | -1274827 | -298919 | -535703 | -421216 | -551126 | Nm3/year
Change in electricity | 6210000 | 3649825 | 492750 | 1213859 | 1035431 | 948077 | kWh/year
CAPEX | 4410000 | 7500000 | 540000 | 1200000 | 1500000 | 1500000 | EUR
SDE++ (indicative) | E-boiler | Procesgeïntegreerde warmtepomp in een verdampingsproces (8.000 uur) | None | None | Industriële warmtepomp, gesloten systeem (8.000 uur) | None
CAPEX subsidy | 0% | 0% | 0% | 0% | 0% | 0%
Pay back time | -24.3482 | 19.4575 | 5.4068 | 9.3494 | 11.0747 | 8.8919 | years
NPV | -5774952.2 | -4595179.5643 | 212666.7871 | -232736.4554 | -479284.8968 | -228724.3059 | EUR
Scope 1 CO2 reduction | -1465.6255 | -2267.573 | -531.6962 | -952.871 | -749.2295 | -980.3043 | ton/year
Minimal CO2 price | 615.0535 | 361.1031 | 39.1249 | 124.6104 | 177.0855 | 123.1604 | EUR/ton CO2
Levelized costs of heat | 188.7605 | 133.4723 | 62.6651 | 81.4645 | 93.0044 | 81.1456 | EUR/MWhth
Energy reduction | -4.308% | -31.49% | -8.896% | -14.56% | -11.11% | -16.24%
| FALSE | FALSE | FALSE | TRUE | TRUE
Total change in natural gas (combined) | -956919 | Nm3/year
Total change in electricity (combined) | 2249290 | kWh/year
Grid costs impact
Delta contract capacity gas | -119.6149 | Nm3/hr
Delta contract capacity electricity | 281.1612 | kWe
Profits and loss
Gas | 210946.4887 | EUR/yr | 0.22044 | EUR/Nm3 change
Delta grid costs |  | 4324.7185
Delta tax costs |  | 206621.7703
Electricity | -148218.2356 |  | 0.065896 | EUR/kWh change
Delta grid |  | -55890.4471
Delta tax |  | -92327.7885
Calculator

## Reference plant
Branche | Oils and Fats Industry
Standard plant | Refining
Annual gas consumption | 2275116 | Nm3/year
Annual electricity consumption | 4000413 | kWh/year
Operating hours per year | 8000 | hours/year
Annual production volume | 203460 | ton/year
Boiler efficiency | 92% | %LHV
Heating value natural gas | 31.65 | MJ/Nm3 LHV
| 35.16 | MJ/Nm3 HHV
Emission factor gas | 56.2 | kg/GJLHV
Excess factor contract capacity gas | 10%
Excess factor contract capacity electr | 10%
Calculation energy taxes
Energy tax gas | 619790.9525 | EUR/year
Energy tax electricity | 156592.1748 | EUR/year
Escalation factor gas tax | 1.0612
Escalation factor elec tax | 1.0612
Calculation grid costs
Contract capacity gas | 320 | Nm3/hr
Contract capacity electricity | 560 | kW
Escalation gas grid costs | 2.5%
Escalation elec grid costs | 5.779%
Escalation factor gas grid costs | 1.0612
Escalation factor elec grid costs | 1.1836
Grid costs gas | 13641.4 | EUR/year
Grid costs electricity | 104182.6856 | EUR/year
Annual gas consumption | 20002061.5 | kWhLHV/year
Total energy consumption | 24002474.5 | kWh/year
Gas as percentage of total energy | 83.33% | gas
Average tax & grid natural gas | 0.27842 | EUR/Nm3
Average tax & grid electricity | 0.065187 | EUR/kWh
Marginal tax natural gas | 0.31573 | EUR/Nm3
Marginal tax electricity | 0.06937 | EUR/kWh
Calculator

## Measure 1
Branche | Oils and Fats Industry
Standard plant | Refining
Number of option | 1
Name option | E boiler
Annual change of natural gas consumption | -823973 | Nm3/year
Annual change of electricity consumption | 6210000 | kWh
Operating hours | 4700 | hrs/yr
CAPEX | 4410000 | EUR
SDE++ subsidy | E-boiler |  | Indicative calculation only
Annual SDE++ delivery volume | 6664568.2817 | kWhSDE++/year
CAPEX subsidy | 0% |  | Correction for reference (null) scenario to be included by user
Reduction scope 1 emissions | -1465.6255 | ton CO2/year
Fossil heat replaced | 6664568.2817 | kWhth/year
| 1417.9933 | kWth
Power natural gas | -1541.297 | kWLHV
Electrical power | 1321.2766 | kWe
Effective COP on natural gas | 1.1665
SDE++ calculation |  |  |  | Correctiebedrag factor
|  | Vollast uren | Min. bedrag | * TTF_HHV | * elektriciteit | * ETS
Basis bedrag | 0.078 | 4700 | 0.165 | 0.99981 | 0 | 0
Basis-Correctie bedrag SDE ++ | 0.055804 | EUR/kWhSDE++
Grid costs impact
Delta contract capacity gas | -175.3134 | Nm3/hr
Delta contract capacity electricity | 1321.2766 | kWe
Profits and loss | Marginal per option
Gas | 491700.0357
Delta commodity |  | 178653.8259
Delta grid costs |  | 0
Delta tax costs |  | 177915.5393
Delta CO2 |  | 135130.6706
Electricity | -956533.3491
Delta commodity |  | -445878
Delta grid |  | -263670.3819
Delta tax |  | -246984.9672
Delta margin | -464833.3134
O&M costs | -88200
SDE+ subsidy | 371910.9582
Nett | -181122.3553
CAPEX subsidy | 0 | EUR
Nett CAPEX | 4410000 | EUR
Pay back time | -24.3482 | years
NPV | -5774952.2 | EUR
IRR | #NUM!
Levelized costs of heat | 188.7605 | EUR/MWhth
Levelized costs of replaced CO2 | 615.0535 | EUR/ton CO2
Total energy reduction | -1034095.9583 | kWh/year
-4.308%
Calculator

## Measure 2
Branche | Oils and Fats Industry
Standard plant | Refining
Number of option | 2
Name option | Heat pump to LP steam
Annual change of natural gas consumption | -1274827 | Nm3/year
Annual change of electricity consumption | 3649825 | kWh
Operating hours | 8000 | hrs/yr
CAPEX | 7500000 | EUR
SDE++ subsidy | Procesgeïntegreerde warmtepomp in een verdampingsproces (8.000 uur) |  | Indicative calculation only
Annual SDE++ delivery volume | 10311225.7183 | kWhSDE++/year
CAPEX subsidy | 0% |  | Correction for reference (null) scenario to be included by user
Reduction scope 1 emissions | -2267.573 | ton CO2/year
Fossil heat replaced | 10311225.7183 | kWhth/year
| 1288.9032 | kWth
Power natural gas | -1400.9818 | kWLHV
Electrical power | 456.2281 | kWe
Effective COP on natural gas | 3.0708
SDE++ calculation |  |  |  | Correctiebedrag factor
|  | Vollast uren | Min. bedrag | * TTF_HHV | * elektriciteit | * ETS
Basis bedrag | 0.0579 | 8000 | 0.129 | 0.77763 | 0 | 0.00014987
Basis-Correctie bedrag SDE ++ | 0.026819 | EUR/kWhSDE++
Grid costs impact
Delta contract capacity gas | -159.3534 | Nm3/hr
Delta contract capacity electricity | 456.2281 | kWe
Profits and loss | Marginal per option
Gas | 766505.4362
Delta commodity |  | 276407.9901
Delta grid costs |  | 5761.4781
Delta tax costs |  | 275265.7346
Delta CO2 |  | 209070.2333
Electricity | -507585.9704
Delta commodity |  | -262057.435
Delta grid |  | -95712.2509
Delta tax |  | -149816.2845
Delta margin | 258919.4658
O&M costs | -150000
SDE+ subsidy | 276535.7311
Nett | 385455.1969
CAPEX subsidy | 0 | EUR
Nett CAPEX | 7500000 | EUR
Pay back time | 19.4575 | years
NPV | -4595179.5643 | EUR
IRR | -6.752%
Levelized costs of heat | 133.4723 | EUR/MWhth
Levelized costs of replaced CO2 | 361.1031 | EUR/ton CO2
Total energy reduction | -7558029.0417 | kWh/year
-31.49%
Calculator

## Measure 3
Branche | Oils and Fats Industry
Standard plant | Refining
Number of option | 3
Name option | Replace steam ejectors by dry compressors
Annual change of natural gas consumption | -298919 | Nm3/year
Annual change of electricity consumption | 492750 | kWh
Operating hours | 8000 | hrs/yr
CAPEX | 540000 | EUR
SDE++ subsidy | None |  | Indicative calculation only
Annual SDE++ delivery volume | 2417756.5117 | kWhSDE++/year
CAPEX subsidy | 0% |  | Correction for reference (null) scenario to be included by user
Reduction scope 1 emissions | -531.6962 | ton CO2/year
Fossil heat replaced | 2417756.5117 | kWhth/year
| 302.2196 | kWth
Power natural gas | -328.4995 | kWLHV
Electrical power | 61.5938 | kWe
Effective COP on natural gas | 5.3333
SDE++ calculation |  |  |  | Correctiebedrag factor
|  | Vollast uren | Min. bedrag | * TTF_HHV | * elektriciteit | * ETS
Basis bedrag | 0 | 0 | 0 | 0 | 0 | 0
Basis-Correctie bedrag SDE ++ | 0 | EUR/kWhSDE++
Grid costs impact
Delta contract capacity gas | -37.3649 | Nm3/hr
Delta contract capacity electricity | 61.5938 | kWe
Profits and loss | Marginal per option
Gas | 179728.7306
Delta commodity |  | 64811.6176
Delta grid costs |  | 1350.9404
Delta tax costs |  | 64543.7837
Delta CO2 |  | 49022.389
Electricity | -69053.5986
Delta commodity |  | -35379.45
Delta grid |  | -13447.9804
Delta tax |  | -20226.1682
Delta margin | 110675.132
O&M costs | -10800
SDE+ subsidy | 0
Nett | 99875.132
CAPEX subsidy | 0 | EUR
Nett CAPEX | 540000 | EUR
Pay back time | 5.4068 | years
NPV | 212666.7871 | EUR
IRR | 15.06%
Levelized costs of heat | 62.6651 | EUR/MWhth
Levelized costs of replaced CO2 | 39.1249 | EUR/ton CO2
Total energy reduction | -2135246.2083 | kWh/year
-8.896%
Calculator

## Measure 4
Branche | Oils and Fats Industry
Standard plant | Refining
Number of option | 4
Name option | Heat oil for degumming/neutralization
Annual change of natural gas consumption | -535703 | Nm3/year
Annual change of electricity consumption | 1213859 | kWh
Operating hours | 8000 | hrs/yr
CAPEX | 1200000 | EUR
SDE++ subsidy | None |  | Indicative calculation only
Annual SDE++ delivery volume | 4332944.4317 | kWhSDE++/year
CAPEX subsidy | 0% |  | Correction for reference (null) scenario to be included by user
Reduction scope 1 emissions | -952.871 | ton CO2/year
Fossil heat replaced | 4332944.4317 | kWhth/year
| 541.6181 | kWth
Power natural gas | -588.7153 | kWLHV
Electrical power | 151.7324 | kWe
Effective COP on natural gas | 3.88
SDE++ calculation |  |  |  | Correctiebedrag factor
|  | Vollast uren | Min. bedrag | * TTF_HHV | * elektriciteit | * ETS
Basis bedrag | 0 | 0 | 0 | 0 | 0 | 0
Basis-Correctie bedrag SDE ++ | 0 | EUR/kWhSDE++
Grid costs impact
Delta contract capacity gas | -66.9629 | Nm3/hr
Delta contract capacity electricity | 151.7324 | kWe
Profits and loss | Marginal per option
Gas | 322098.0272
Delta commodity |  | 116151.1245
Delta grid costs |  | 2421.0666
Delta tax costs |  | 115671.1302
Delta CO2 |  | 87854.7059
Electricity | -169746.9748
Delta commodity |  | -87155.0762
Delta grid |  | -32765.9904
Delta tax |  | -49825.9082
Delta margin | 152351.0524
O&M costs | -24000
SDE+ subsidy | 0
Nett | 128351.0524
CAPEX subsidy | 0 | EUR
Nett CAPEX | 1200000 | EUR
Pay back time | 9.3494 | years
NPV | -232736.4554 | EUR
IRR | 4.066%
Levelized costs of heat | 81.4645 | EUR/MWhth
Levelized costs of replaced CO2 | 124.6104 | EUR/ton CO2
Total energy reduction | -3495863.2083 | kWh/year
-14.56%
Calculator

## Measure 5
Branche | Oils and Fats Industry
Standard plant | Refining
Number of measure | 5
Name measure | Tank heating with heat pump hot water
Annual change of natural gas consumption | -421216 | Nm3/year
Annual change of electricity consumption | 1035431 | kWh
Operating hours | 8000 | hrs/yr
CAPEX | 1500000 | EUR
SDE++ subsidy | Industriële warmtepomp, gesloten systeem (8.000 uur) |  | Indicative calculation only
Annual SDE++ delivery volume | 3406935.4133 | kWhSDE++/year
CAPEX subsidy | 0% |  | Correction for reference (null) scenario to be included by user
Reduction scope 1 emissions | -749.2295 | ton CO2/year
Fossil heat replaced | 3406935.4133 | kWhth/year
| 425.8669 | kWth
Power natural gas | -462.8988 | kWLHV
Electrical power | 129.4289 | kWe
Effective COP on natural gas | 3.5765
SDE++ calculation |  |  |  | Correctiebedrag factor
|  | Vollast uren | Min. bedrag | * TTF_HHV | * elektriciteit | * ETS
Basis bedrag | 0.0532 | 8000 | 0.129 | 0.77763 | 0 | 0.00020815
Basis-Correctie bedrag SDE ++ | 0.016745 | EUR/kWhSDE++
Grid costs impact
Delta contract capacity gas | -52.652 | Nm3/hr
Delta contract capacity electricity | 129.4289 | kWe
Profits and loss | Marginal per option
Gas | 253261.3083
Delta commodity |  | 91328.0531
Delta grid costs |  | 1903.6518
Delta tax costs |  | 90950.6401
Delta CO2 |  | 69078.9632
Electricity | -144867.8173
Delta commodity |  | -74343.9458
Delta grid |  | -28021.9912
Delta tax |  | -42501.8803
Delta margin | 108393.4909
O&M costs | -30000
SDE+ subsidy | 57050.317
Nett | 135443.8079
CAPEX subsidy | 0 | EUR
Nett CAPEX | 1500000 | EUR
Pay back time | 11.0747 | years
NPV | -479284.8968 | EUR
IRR | 1.257%
Levelized costs of heat | 93.0044 | EUR/MWhth
Levelized costs of replaced CO2 | 177.0855 | EUR/ton CO2
Total energy reduction | -2667759.6667 | kWh/year
-11.11%
Calculator

## Measure 6
Branche | Oils and Fats Industry
Standard plant | Refining
Number of measure | 6
Name measure | Chilled condensing to reduce motive steam consumption
Annual change of natural gas consumption | -551126 | Nm3/year
Annual change of electricity consumption | 948077 | kWh
Operating hours | 8000 | hrs/yr
CAPEX | 1500000 | EUR
SDE++ subsidy | None |  | Indicative calculation only
Annual SDE++ delivery volume | 4457690.7967 | kWhSDE++/year
CAPEX subsidy | 0% |  | Correction for reference (null) scenario to be included by user
Reduction scope 1 emissions | -980.3043 | ton CO2/year
Fossil heat replaced | 4457690.7967 | kWhth/year
| 557.2113 | kWth
Power natural gas | -605.6645 | kWLHV
Electrical power | 118.5096 | kWe
Effective COP on natural gas | 5.1107
SDE++ calculation |  |  |  | Correctiebedrag factor
|  | Vollast uren | Min. bedrag | * TTF_HHV | * elektriciteit | * ETS
Basis bedrag | 0 | 0 | 0 | 0 | 0 | 0
Basis-Correctie bedrag SDE ++ | 0 | EUR/kWhSDE++
Grid costs impact
Delta contract capacity gas | -68.8907 | Nm3/hr
Delta contract capacity electricity | 118.5096 | kWe
Profits and loss | Marginal per option
Gas | 331371.2959
Delta commodity |  | 119495.1393
Delta grid costs |  | 2490.7696
Delta tax costs |  | 119001.3259
Delta CO2 |  | 90384.0611
Electricity | -132679.3462
Delta commodity |  | -68071.9286
Delta grid |  | -25691.2028
Delta tax |  | -38916.2148
Delta margin | 198691.9497
O&M costs | -30000
SDE+ subsidy | 0
Nett | 168691.9497
CAPEX subsidy | 0 | EUR
Nett CAPEX | 1500000 | EUR
Pay back time | 8.8919 | years
NPV | -228724.3059 | EUR
IRR | 4.943%
Levelized costs of heat | 81.1456 | EUR/MWhth
Levelized costs of replaced CO2 | 123.1604 | EUR/ton CO2
Total energy reduction | -3897239.0833 | kWh/year
-16.24%
Calculator

## Energy price scenarios
Commodity price scenario's
| KEV 2022 |  |  |  | KEV 2024 |  |  |  | ETM Koersvaste midden weg |  |  | Market FW 2030 (juni 2026) |  |  | User 1 |  |  | User 2
| Gas | Power | CO2 |  | Gas | Power | CO2 |  | Gas | Power | CO2 | Gas | Power | CO2 | Gas | Power | CO2 | Gas | Power | CO2
| [EUR/MWhHHV] | [EUR/MWh] | [EUR/ton] |  | [EUR/MWhHHV] | [EUR/MWh] | [EUR/ton] |  | [EUR/MWhHHV] | [EUR/MWh] | [EUR/ton] | [EUR/MWhHHV] | [EUR/MWh] | [EUR/ton] | [EUR/MWhHHV] | [EUR/MWh] | [EUR/ton] | [EUR/MWhHHV] | [EUR/MWh] | [EUR/ton]
2030 | 37.884 | 73 | 110 |  | 23.5495 | 65 | 108 |  | 22.4 | 76.3082 | 136 | 22.2 | 71.8 | 92.2 | 30 | 120 | 90 | 30 | 120 | 200
2035 | [8 empty] | 21.4 | 101.9431 | 156
2040 | [8 empty] | 21 | 119.6735 | 177
2045 | [8 empty] | 20 | 119.6729 | 197
2050
Energy tax gas
Annual increase | 2% | year on year
Staffel | Prijs
Nm3/jaar | EUR/Nm3 | EUR/jaar
0 | 0.57816 | 0
1000 | 0.57816 | 578.16
170000 | 0.57816 | 98287.2
1000000 | 0.31573 | 360343.1
10000000 | 0.20347 | 2191573.1
100000000 | 0.05385 | 7038073.1
1000000000 | 0.05385 | 55503073.1
Energy tax electricity
Annual increase | 2% | year on year
Staffel | Prijs
kWh/jaar | EUR/kWh
0 | 0.10154 | 0
2900 | 0.10154 | 294.466
10000 | 0.10154 | 1015.4
50000 | 0.06937 | 3790.2
10000000 | 0.03868 | 388656.2
100000000 | 0.00321 | 677556.2
1000000000 | 0.00321 | 3566556.2
Gas network costs
Annual increase | 2% | year on year
Aansluit recht | 1263 | EUR/year
Transport recht | 1476 | EUR/year
Transport | 34.07 | EUR per Nm3/hr
Electricity network costs
Aansluitvermogen | Spanning | kW contract | kW max | vast recht | EUR/kWh | Totaal vastrecht | Annual increase | Totaal variabel
[kW] | [V] | EUR/kW | EUR/kWmax per maand | EUR/jaar |  |  |  | EUR/kWh | EUR/kW
0 |  | 16 | 3.71 | 18 | 0.0804 | 18 | 6.7%
50 | 380 | 16 | 3.71 | 18 | 0.0804 | 3044 | 6.7% | 0.092576 | 462.88 | 226.3623 | 226.3623
125 |  | 50 | 3.71 | 441 | 0.025 | 12256 | 6% | 0.04461 | 223.048 | 210.1316 | 210.1316
1500 |  | 29.28 | 3.71 | 441 | 0.0152 | 111141 | 5.3% | 0.030019 | 150.094 | 171.7362 | 171.7362
10000 | 20000 | 65.62 | 7.77 | 2760 | 0 | 1591360 | 4.9% | 0.031827 | 159.136 | 147.2178 | 147.2178
100000 | 110000 | 49.28 | 6.17 | 12479 | 0 | 12344479 | 4.8% | 0.024689 | 123.4448 | 122.1126 | 122.1126

## Financial parameters
WACC | 8%
Depreciation period | 12 | years
Tax percentage | 30% | [NOT IN USE]
O&M cost per year | 2% | of CAPEX

## SDE++
Correctiebedrag factor
Type SDE++ | Basis bedrag | Vollast uren | Min bedrag | * TTF | * elektriciteit | * ETS
None
Procesgeïntegreerde warmtepomp in een verdampingsproces (8.000 uur) | 0.0579 | 8000 | 0.129 | 0.77763 | 0 | 0.00014987
Procesgeïntegreerde warmtepomp in een verdampingsproces (5.000 uur) | 0.0768 | 5000 | 0.129 | 0.77763 | 0 | 0.00014987
Procesgeïntegreerde warmtepomp in een verdampingsproces (3.000 uur) | 0.1104 | 3000 | 0.129 | 0.77763 | 0 | 0.00014987
E-boiler | 0.078 | 4700 | 0.165 | 0.99981 | 0 | 0
Industriële warmtepomp, open systeem (8.000 uur) | 0.0296 | 8000 | 0.129 | 0.77763 | 0 | 0.00016057
Industriële warmtepomp, open systeem (5.000 uur) | 0.0439 | 5000 | 0.129 | 0.77763 | 0 | 0.00016057
Industriële warmtepomp, open systeem (3.000 uur) | 0.0694 | 3000 | 0.129 | 0.77763 | 0 | 0.00016057
Industriële warmtepomp, gesloten systeem (8.000 uur) | 0.0532 | 8000 | 0.129 | 0.77763 | 0 | 0.00020815
Industriële warmtepomp, gesloten systeem (5.000 uur) | 0.0715 | 5000 | 0.129 | 0.77763 | 0 | 0.00020815
Industriële warmtepomp, gesloten systeem (3.000 uur) | 0.1041 | 3000 | 0.129 | 0.77763 | 0 | 0.00020815